## Sheet1
DAMAGE |  |  | EXCESSIVE COMBUSTIBLE MATERIALS
HOLES IN WALLS |  |  | TRASH
DART BOARD DAMAGE |  |  | WALL HANGINGS-NO CARDBOARD
PAINT |  |  | UNAUTHORIZED BUILDING MATERIALS
WRITING ON WALLS |  |  | OTHER MATERIALS
BROKEN LIGHT FIXTURE
BROKEN MIRROR |  |  | FURNITURE
DOOR BROKEN |  |  | BED POSITIONED CLOSE TO CEILING 36IN
BROKEN WALL OUTLET |  |  | LOFTED FURNITURE
BROKEN HORN/STROBE FIXTURE |  |  | EXCESSIVE FURNITURE
BROKEN/REMOVED PEEP HOLE |  |  | UNAUTHORIZED LOFTED BED
BROKEN WINDOW |  |  | OTHER FURNITURE ISSUES
POLE INSTALLED FLOOR TO CEILING
OTHER DAMAGE |  |  | ITEMS HUNG IMPROPERLY
ON SMOKE DETECTORS
UNAUTHORIZED/HAZARDOUS APPLIANCES |  |  | ON SPRINKLER HEAD
TOASTER |  | MICROWAVE | ON ELECTRICAL CONDUITS
SPACE HEATER |  | ELECTRIC BLANKET | ON LIGHTS
HALOGEN LAMPS |  | ELECTRIC HEATING PAD | FROM CEILING
HOTPLATE |  | ELECTRIC FIREPLACE | WITHIN 18 INCHES OF SPRINKLER HEAD
NEON SIGN |  | LAVA LAMPS | WITHIN 36 INCHES OF SMOKE DETECTOR
OUTDOOR GRILL |  | HALOGEN TORCHIERE LAMPS | EMGNCY EVAC. PLACARD COVERED UP
ROTISSERY |  | RICE PAPER LAMPS | OVER FIRE ALARM HORN/EXIT SIGN
POP CORN POPPER |  |  | OTHER ITEMS
GEORGE FORMAN GRILL
OTHER APPLIANCES
CLOTHES STEAMERS
FOG MACHINES |  |  | OTHER
ELECTRICAL PROBLEMS |  |  | SCREENS OUT OF WINDOWS
OVERLOADED OUTLETS |  |  | STOLEN SIGNS, NON-BENTLEY
USE OF INFERIOR EXTENSION CORDS |  |  | STOLEN SIGNS, BENTLEY
CORDS UNDER RUGS/TAPE |  |  | UNAUTHORIZED PETS-OTHER THAN FISH
SURGE PROTECTOR NOT PLUGGED DIRECTLY INTO WALL |  |  | STOLEN EXIT SIGN
ONE-TO-THREE SOCKET ADAPTERS |  |  | STOLEN BENTLEY PROPERTY
OTHER ELECTRICAL PROBLEMS |  |  | STOLEN TABLES
BROKEN FURNITURE
FLAMMABLE MATERIALS |  |  | CEILING TILES REMOVED
CANDLES | AIR WICKS |  | BROKEN GLASS ON FLOOR (ALC. BOTTLE)
OIL LAMPS |  |  | LOUNGE FURNITURE
PAINT THINNER, GAS, PAINT CANS |  |  | OTHER
LIGHTER FLUID, PROPANE BOTTLES |  |  | CARPENTRY, ELECTRICAL MACHINERY
SMOKING ASHTRAYS IN NON-SMOKING ROOM
EVIDENCE OF MARIJUANA SMOKING (BONGS, PAPERS)
LIVE TREE, BRANCHES OR WREATH
INCENSE
CHARCOAL
OTHER FLAMMABLE MATERIALS (INCLUDING MOTH BALLS)